## RC-16D
EQUIPMENT SERVICE / CALIBRATION SCHEDULE
HACCP Coordinator / SQFP or Production / Scheduling Supervisor uses schedule below to arrange equipment service and calibration with respective contractor(s). RH=Relative Humidity; 1x/y=annually; 1x/6m = semi-annually. Sign off in each box after service is completed. Food Safety Specialist reviews for completion, signs/initials records/service reports quarterly. Year __________________________________________
Equipment | Freq. | Month / Initial/ Date
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Equipment Service: Contractors
Air Filter Inspection | 1x/y | bar: Month / Initial/ Date Sep
Service Completed on Handtman Stuffer VF 622 & VF616 / Linker 242-16 | every 2000 hrs
Repack Machine | 1x/y
Compressors (x3) | 2x/year | bar: Month / Initial/ Date Mar; Month / Initial/ Date Sep
Backflow devices (x2 units) | 1x/y | bar: Month / Initial/ Date Feb
HVAC (Reefer Units): Coolers (#1, #2, #3, #4, #5); Production Room #7; Jerky Clippling Room; Drying Room #4; Packaging Room #6; Shipping Room / Dry ingredients Storage # 8 | 1x/y
Third Party Calibration
Sesotec Metal Detector | 1x/y | bar: Month / Initial/ Date Aug
Water Activity Meter Calibration (AquaLab Pre) | 1x/y | bar: Month / Initial/ Date Mar
Water Activity Meter Calibration (AquaLab 3) | 1x/y | bar: Month / Initial/ Date Mar
Oxygen meter calibration | 1x/6m | bar: Month / Initial/ Date Mar
ATP4003 Rod Kit - CalCheck - Luminometer | 1x/y | bar: Month / Initial/ Date Apr
ATP Hygiena SystemSure plus, Serial# 139713 | bar: Month / Initial/ Date Oct
TK0305B- Thermometer Type K Thermocouple serial# 08965841 | 1x/y | bar: Month / Initial/ Date Aug
Manometer / Pressure | Expiry date: 08 Aug 2024
Sper Scientific Light Meter | 1x/y | bar: Month / Initial/ Date Aug
Certified pH/ Temperature Measuring Instrument calibration | 1x/y | bar: Month / Initial/ Date Aug
HiTemp140 High Precision High Temperature Data Logger (x4 units) | 1x/y | Month / Initial/ Date Feb: * S06282; Month / Initial/ Date Apr: * S06469; Month / Initial/ Date May: * S89632 S89626; Month / Initial/ Date Jun: * S93262 S93264; Month / Initial/ Date Dec: * T09937 T09938
F150 I.R Thermometer X 2 (E0114022878, E2054015275) | 1x/y | bar: Month / Initial/ Date Aug to Month / Initial/ Date Sep
Scales calibration | 1x/y | bar: Month / Initial/ Date Aug
Certified Weight 1 KG | 1x/y | bar: Month / Initial/ Date Aug
Certified Weight 2 KG | 1x/y | bar: Month / Initial/ Date Aug
pH meter X 2 | bar: Month / Initial/ Date Mar; Month / Initial/ Date Sep
pH Buffer Solution (pH 4.00) | Expiry date: Sep/25 | bar: Month / Initial/ Date Feb
pH Buffer Solution (pH 7.00) | Expiry date: Feb/26 | bar: Month / Initial/ Date Feb
Weigh Filler JDA - Line 3 | 1x/y | bar: Month / Initial/ Date Sep
Multihead Weigher PLAN IT 14H APOLO WEIGHER - Line 6 | 1x/y | bar: Month / Initial/ Date Sep
Smokehouse Probes Calibration x5 | 1x/y | bar: Month / Initial/ Date Feb
Task Employee fills out the section below for each non-compliance found during performing any of the tasks above.
Date and Time of occurrence | Deviation(s) found (describe issue(s)). | Month / Initial/ Date May: Immediate Corrective action(s) taken (include Work Orders issued).; Month / Initial/ Date Sep: Initials; Month / Initial/ Date Oct: Date/time when conformity is re-established; Month / Initial/ Date Dec: Verifier's Initial
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Comment :