## RC-16D
EQUIPMENT SERVICE / CALIBRATION SCHEDULE
HACCP Coordinator / SQFP or Production / Scheduling Supervisor uses schedule below to arrange equipment service and calibration with respective contractor(s). RH=Relative Humidity; 1x/y=annually; 1x/6m = semi-annually. Sign off in each box after service is completed. Food Safety Specialist reviews for completion, signs/initials records/service reports quarterly. Year __________________________________________
Equipment | Freq. | Month / Initial/ Date
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Equipment Service: Contractors
Air Filter Inspection | 1x/y | bar: Month / Initial/ Date Sep
Service Completed on Handtman Stuffer VF 622 & VF616 / Linker 242-16 | every 2000 hrs | Month / Initial/ Date Sep: 2022-09-16
Repack Machine | 1x/y
Compressors (x3) | 2x/year | bar: Month / Initial/ Date May; Month / Initial/ Date Sep
Backflow devices (x1 unit) 4060415 Sanitizer feed room | 1x/y | Month / Initial/ Date Apr: april 7 2027
HVAC (Reefer Units): Coolers (#1, #2, #3, #4, #5); Production Room #7; Jerky Clippling Room; Drying Room #4; Packaging Room #6; Shipping Room / Dry ingredients Storage # 8 | 1x/y | bar: Month / Initial/ Date Sep
Third Party Calibration
Sesotec Metal Detector (10021446) | 1x/y | Month / Initial/ Date Sep: *11-Sept-2026
Bizerba (Line 2) (12421227) | 1x/y | Month / Initial/ Date Apr: 2027-04-06
Bizerba (Line 1) (1242128) | 1x/y | Month / Initial/ Date Apr: 2027-04-06
Water Activity Meter Calibration (AquaLab 3) (AQ200002130) | 1x/y | Month / Initial/ Date May: * 22-May-2027
Water Activity Meter Calibration (AquaLab 4TE) (AL400009056) | 1x/y | Month / Initial/ Date Aug: * 12-Aug-2026
Oxygen meter calibration (gas analyzer 53231909) | 1x/y | Month / Initial/ Date Mar: * 10-March-2027
ATP4003 Rod Kit - CalCheck - Luminometer (SC00113) | 1x/y | Month / Initial/ Date Mar: * 6-March-2027
ATP Hygiena SystemSure plus, Serial# 139713 |  | Month / Initial/ Date Oct: * 28-Oct-2024 purchased | verification monthly
TK0305B- Thermometer Type K Thermocouple serial# 08965847 | 1x/y | Month / Initial/ Date Aug: * 21-Aug-2027
Manometer / Pressure (221709783) | 1x/y | Month / Initial/ Date Oct: * 22-Oct-2026
Sper Scientific Light Meter (088524) | 1x/y | Month / Initial/ Date Aug: * 21-Aug-2027
Certified pH/ Temperature Measuring Instrument calibration | 1x/y | Month / Initial/ Date Aug: * NA
HiTemp140 High Precision High Temperature Data Logger (x6 units) S06469, S693264, T23522, T72248, T70099 (T09937, T09938) | 1x/y | Month / Initial/ Date Mar: *3-March-2027 T23522; Month / Initial/ Date May: 5/21/2027 T72248, T70099 (5/26/2027 T09937, T09938); Month / Initial/ Date Aug: * 4-Aug-2027 (S93264) |  | * not in use 14-March-26) S06282
F150 I.R Thermometer (E5044009230, E2054015275, E5044009163) | 1x/y | Month / Initial/ Date May: 5/22/2027 E5044009163; Month / Initial/ Date Jul: 7/15/2027 E5044009230; Month / Initial/ Date Aug: *21-Aug-2027 (E2054015275)
Scales calibration | 1x/y | Month / Initial/ Date Apr: 2027-04-28 | refer to scales list RC-78
handheld thermometer (1411642) | 1x/y | bar: Month / Initial/ Date Aug
Certified Weight 1 KG | 1x/y | Month / Initial/ Date Apr: 2027-04-28
Certified Weight 2 KG - not in use | 1x/y
pH meter (254009, 254014, 254001) | 1x/y | Month / Initial/ Date May: * 254009, 254014(May 21 2027), 254001 (May 22 2027)
Weigh Filler JDA - Line 3 | 1x/y | Month / Initial/ Date Aug: *not in use; Month / Initial/ Date Sep: *not in use
Multihead Weigher PLAN IT 14H APOLO WEIGHER - Line 6 | 1x/y | bar: Month / Initial/ Date Jan to Month / Initial/ Date Dec
Smokehouse Probes Calibration x5 * SH 1 Core Temp, SH 2 Core Temp, SH 3 Core Temp, SH 4 Core Temp, SH 5 Core Temp, / SH 5 Core Temp 2 | 2x/y (6months) | Month / Initial/ Date Feb: * 11-Feb-2027; Month / Initial/ Date Aug: *28-feb-2027
Task Employee fills out the section below for each non-compliance found during performing any of the tasks above.
Date and Time of occurrence | Deviation(s) found (describe issue(s)). | Month / Initial/ Date May: Immediate Corrective action(s) taken (include Work Orders issued).; Month / Initial/ Date Sep: Initials; Month / Initial/ Date Oct: Date/time when conformity is re-established; Month / Initial/ Date Dec: Verifier's Initial
Record Review Date/ Verifier's Initials: _Mar 11 2026_ / ____Sk___ On-site Observation Date/ Verifier's Initials: __March 11/26____ / _SC_____
Record Review Date/ Verifier's Initials: __June 18 2026_______ / ___Sk____ On-site Observation Date/ Verifier's Initials: __June 18/26____ / ____SC___
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Comment :