## RC-17A
ATP METER CALIBRATION RECORD
HACCP Coordinator / SQFP performs calibration monthly with EnSure Luminometer. Take the test 3 times each for positive and negative, then record average. Records the readings, findings if any deviation is found and corrective actions taken. If deviation affects food safety, then records on Deviation Record. Food Safety Specialist observes and verifies for accuracy and dates and signs Verification Record semi-annually.
Manufacturer: Hygiena | Part #: ATP-202 | Serial: 139713 Description: Luminometer
Date | [5 empty] | Initial
Positive Readings (40-80)
| Test 1 | Test 2 |  | Test 3 | Average
Negative Readings (0-4)
| Test 1 | Test 2 |  | Test 3 | Average
Positive Readings (40-80)
| Test 1 | Test 2 |  | Test 3 | Average
Negative Readings (0-4)
| Test 1 | Test 2 |  | Test 3 | Average
Positive Readings (40-80)
| Test 1 | Test 2 |  | Test 3 | Average
Negative Readings (0-4)
| Test 1 | Test 2 |  | Test 3 | Average
Positive Readings (40-80)
| Test 1 | Test 2 |  | Test 3 | Average
Negative Readings (0-4)
| Test 1 | Test 2 |  | Test 3 | Average
Task Employee fills out the section below for each non-compliance found during performing any of the tasks above.
Date and Time of occurrence | Deviation(s) found (describe issue(s)). |  | Immediate Corrective action(s) taken (include Work Orders issued). |  | Initials | Date/time when conformity is re-established
Record Review Date/ Verifier's Initials: _____/ _____ On-site Observation Date/ Verifier's Initials: ______ / _____
Comments: