## RC-7
AIR AND WATER FILTERS INSPECTION RECORD
Annually Maintenance Employee visually observe condition of the air and water filters. Clean , wash or replace the filters. Use Plant Schematic for exact location of the filters.Checkmarks “√” when is acceptable and “X” when not. Records deviation whenever it is found. If food safety is compromised transfers findings and corrective action on Deviation Record. Food Safety Specialist observes and verifies for accuracy and dates and signs once annually.
Date | Air Intake and exhaust outlets |  | Filter/s cleaned, washed?√/ X | Filter/s replaced? √/ X | Initial
Shipping Room/Dry ingredients Storage # 8; Drying Rooms #1, #2
# 2 gooseneck complete with screen and filter for air intake
# 3 gooseneck with screen for ceiling space
# 4 roof exhaust fan complete with screen
# 5 indoor split a/c complete with 1-25X20X1 filter
# 6 roof exhaust fan complete with screen
Processing Room # 7; Hallway #2
# 7 roof fan supply air intake complete with 4-24x12x1 filter
# 8 indoor split a/c unit complete with 1-25x20x1 filter
# 9 roof fan exhaust complete with screen for ceiling space
Processing Room # 7
Water Filter (CBC Big Blue 10" Filter)
President's Office; Drying Room #3,4,5,6; Packaging Room #6; Jerky Cuting Room
# 13 two –gooseneck complete with screen and filter for fresh air intake; 2-16x16x1 filters
# 14 gooseneck complete with screen for inline exhaust fan
#15 roof top a/c unit for office; filter size: 2-15x20x1, 14x25x1
Strip Packet Dispenser Air Filters (2); filter 5 micron, ARO P/N 104295; 0.3 micron 17 SCFM, ARO P/N 104297
Deviations: Corrective Actions/Preventative Measures/Interim Measures
Date and Time of occurrence | Deviation(s) found (describe issue(s)). | Immediate Corrective action(s) taken (include Work Orders issued). | Initial | Date/time when conformity is re-established | Verifier's Initial
Record Review Date/ Verifier's Initials: _________ / _______ On-site Observation Date/ Verifier's Initials: ______ / _______
Comment: